## Sheet1
Scenario | Best Case( most favorable) | Reference case | Worest case (most unfavorable)
Natural Gas | AEO2021 High Oil/Gas Resource Case natural gas prices/availability (Low cost) | AEO2021 Reference Case natural gas prices/availability (moderate cost) | AEO2021 Low Oil/Gas Resource Case natural gas prices/availability (high cost)
Variable reneable | ATB2021 Advanced Innovation scenario (low cost) | ATB2021 Moderate Innovation scenario (moderate cost) | ATB2021 Advanced Innovation scenario (low cost)
Battery | ATB2021 Conservative Innovation scenario (high cost) | ATB2021 Moderate Innovation scenario (moderate cost) | ATB2021 Advanced Innovation scenario (low cost)
Load profile | NREL EFS High Electrification, Moderate Technology Advancement | AEO2021 Reference Case electricity demand | NREL EFS Reference, Moderate Technology Advancement
Demand Flexibility | Current flexibility - EFS Flexible Load Profiles - High Electrification (use base case) | No flexible demand | Enhanced flexibility - EFS Flexible Load Profiles – Reference (use enhanced case)
Competing Technologies - conventional nuclear | AEO2021 Reference Case electricity demand (moderate cost) | AEO2021 Reference Case electricity demand (moderate cost) | AEO2021 Reference Case electricity demand (moderate cost)
Competing Technologies - SMR nuclear | not available | ‘conv_ATB_2021.csv’, costs in 2019$, 20% min load, other parameters are the same as conventional nuclear | ‘conv_ATB_2021.csv’, costs in 2019$, 20% min load, other parameters are the same as conventional nuclear
Competing Technologies - H2 fuel gas turbines | not available | ‘re-ct_ATB_2021.csv’, costs in 2019$, other parameters are the same as NGCT. H2 cost = 14.78, 2004$/ MMBTU | ‘re-ct_ATB_2021.csv’, costs in 2019$, other parameters are the same as NGCT. H2 cost = 14 $/ MMBTU
Competing Technologies - DAC | not available | not available | ‘consume_char_ref.csv’, cost in 2019 euro/t/yr, reference conversion factor of 1.5
Competing Technologies - BioCCS | not available | not available | ‘beccs_reference.csv’ , cost in 2010$, CO2 capture rate = 90%, biomass cost = $3.2/MMBTU. Other parameters are the same as conventional biomass power plant
Note on D11: [Threaded comment] Your version of Excel allows you to read this threaded comment; however, any edits to it will get removed if the file is opened in a newer version of Excel. Learn more: https://go.microsoft.com/fwlink/?linkid=870924 Comment: yes we're assuming 90% capture rate for BECCS and the same other operating parameters as dedicated biopower. I think it's fine to use the ATB21 biomass cost if you need a static exogenous value